Call to Order:

Committee Member Attendance:

Arleen Gallo, Co-Chair and Management Rep ☒		Dave Briggeman, Co-Chair and BCGEU Rep ☒

Rob Schwarzer, Management Rep ☒			Heather Bishop, Minutes ☒

Martin Keyserlingk, Management Rep 	 ☒		Donna Drover, Management Rep ☒

Bob Kalmakoff, PPWC Rep ☐				Holly Martin, PPWC Rep ☒

Tracy Punchard, Management Rep ☒		Daryl Jolly, Management Rep ☐ (on leave)

Ross White, BCGEU Rep ☒		David Ringheim, BCGEU Rep ☐

Laura Neigel, PPWC Rep ☒

Attendance met for quorum – Agenda reviewed three items added to New Business – Minutes from September 2021 meeting approved.

Review Previous Minutes from Sept 23, 2021

Approved	 	☒

Revisions Needed	☐

Approve Agenda:

Additions	 	☒  See below

Nothing to add	☐

Items added to agenda:

- Mental Health First Aid

- HSE issues – Welding students changing gas tanks & potential for students being locked in compound.

Old Business:

| - Stats Report (Standing item) – Arleen & Donna | - WorkSafe Claims or Lost time days to Date – Two new WorkSafe claims – both w/ lost time 1 PPWC, 1 BCGEU -To date 7hrs lost time for last year – rates received for year and down a point due to better lost time claims. (.25 down to .24) - First aid incidents to report. – Two new first aid incidents. |
| --- | --- |
| - Inspection Review: |  |
| Gymnasium & Mary Hall: Tarunjit & Ross | Ross to submit report – Ross has submitted Actions: Donna to distribute Ross’s report to committee. |
| October – South Trades, North Trades and Fine Woodworking: David R and Rob S | South Trades, north trades and fine woodworking done by Rob S and Dave B Items of note: Fine woodworking – increased buildup of dust which is very flammable South trades – emergency stop buttons (one in each half) are way in the back and somewhat hidden – need additional stop buttons wired in near the front and near instructors – these stop buttons also need to be tested a few times a year. Welding shop – unstable shelves, need stabilizers or additional legs. First aid room – old emergency system appears to be hanging from ceiling and needs to be removed. |
|  | Actions: - KSA (Donna) still outstanding; - Arleen to connect with Niki and put Steve P’s name forward; - Dave to send south trades inspection to Laura; - Maintenance to price out – Rob S to put in a maintenance ticket for emergency stop button addition; |

New Business:

| - Return to Campus Update – Donna | - Donna & Dave B gave Trail campus update – still working through GTCC transfer; safety issues – Kerry & Dave did campus tour to identify issues; Donna has received quote from Selkirk Security to increase hours of service, need to improve security camera quality. - Double Vax required for all non-educational events/gym – has gone relatively smoothly – 1 incident w/ a student - Flu Clinics – Trail – Nov 18th, Nelson – Nov 9th, Castlegar Nov 3&16th |
| --- | --- |
| - Mental Health First Aid | - Proposed date of Nov 18 & 19th half days – 3 people on list need 8 to make it a go – register with Laura by end of week. |
| - Nelson HSE Concerns – Students locked in and Welding students changing gas tanks | - Dave stated potential for a person to get locked in the welding compound due to exterior door locking behind them (ie. In a fire alarm) – but it may just be a sticky door/lock or timed door – Rob did not think it was an issue – Laura and Rob to review and new signage may be required. - Welding students being asked to change tanks which could be a hazard – Rob stated it was an instructional opportunity that was overseen by instructor – include instructional information and checklist? Laura to meet with Dave and Rob to review this process. |

Next meeting: November 25, 2021